| S/N | Insert name of Services | Insert country of origin | Insert delivery date | Physical unit | Insert number of units | Insert unit price per item | Insert total price per item |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Hygiene sponge sampling kits dosed with neutralizing buffer (200/box) |  | 40 days | box | 1 | £365.59 | £365.59 |
|  | Analytical Profile Index 20 (API 20E), strips of 20 miniature biochemical tests for identification of Enterobacteriacae and non-fastidious gram-negative bacteria, 25 strips/pack |  | 40 days | pack | 1 | $269.00 | $269.00 |
|  | RapID Staph Plus System, for qualitative method based on enzyme reactions for one-step, 4-hour identification of 40 Staphylococcus species, pack of 20 panels |  | 40 days | pack | 1 | £58.80 |  |
|  | RapID Nitrate A reagent, for use with RapID Staph Plus System, 15mL bottle |  | 40 days | bottle | 1 | £58.80 |  |
|  | RapID Nitrate B reagent, for use with RapID Staph Plus System, 15mL bottle | USA | 40 days | bottle | 1 | £26.18 |  |
|  | RapID Inoculation fluid, 2 mL, for use with RapID Yeast Plus System and RapID Staph Plus System, 20 tubes/pack | USA | 40 days | pack | 1 | $91.00 |  |
|  | RapID Yeast Plus System, for qualitative method based on enzyme reactions for one-step, 4-hour identification of medically important yeast, yeast-like and related organisms, 20 panels/pack |  | 40 days | pack | 1 |  |  |
|  | Anaerobe Indicator Test, 100 strips/pack |  | 40 days | pack | 1 |  |  |
|  | Bromocresol Purple solution, 0.04 wt. % in H2O, 500mL bottle |  | 40 days | bottle | 1 |  |  |
|  | Catalase test (Hydrogen peroxide solution), 200mL bottle |  | 40 days | bottle | 1 |  |  |
|  | Coagulase plasma, 6x5mL/pack |  | 40 days | pack | 1 |  |  |
|  | Oxidase strips Microbact, 50 tests/kit |  | 40 days | kit | 1 |  |  |
|  | Oxoid CO2 Gas Generating kit is for use with 3.0-3.5L capacity anaerobic jars, pack of 10 |  | 40 days | pack | 1 |  |  |
|  | Methyl Red ACS reagent (Quality Level 200), 100g bottle |  | 40 days | bottle | 1 |  |  |
|  | TDA reagent for microbiology, 10mL bottle |  | 40 days | bottle | 1 |  |  |
|  | 2,3,5-Triphenyl-tetrazolium chloride solution, 2x 10mL/pack |  | 40 days | pack | 1 |  |  |
|  | Potassium hydroxide 10% aqueous solution, 1L bottle |  | 40 days | bottle | 1 |  |  |
|  | Sodium Thiosulfate Tablets, 10 mg, 5000 tablets/pack |  | 40 days | pack | 1 |  |  |
|  | Gram's Stain Kit contains following solutions crystal violet, iodine, decolorizer, safranin. 4x250mL + support/kit |  | 40 days | kit | 1 |  |  |
|  | Giemsa stain, modified, 500mL bottle |  | 40 days | bottle | 1 |  |  |
|  | Lactophenol cotton blue solution, 100mL bottle |  | 40 days | bottle | 1 |  |  |
|  | o-nitrophenyl-b-D‐galactopyranoside (ONPG), 5g bottle |  | 40 days | bottle | 1 |  |  |
|  | BactiCard Candida Identification Kit, 25 tests/kit |  | 40 days | kit | 1 |  |  |
|  | BactiCard E. coli Identification Kit, 25 tests/kit |  | 40 days | kit | 1 |  |  |
|  | BactiCard Neisseria Identification Kit, 25 tests/kit |  | 40 days | kit | 1 |  |  |
|  | BactiCard Strep Identification Kit, 25 tests/kit |  | 40 days | kit | 1 |  |  |
|  | Bordetella Agglutinating Sera, 2mL bottle |  | 40 days | bottle | 1 |  |  |
|  | Brucella abortus Agglutinating Sera (abortus/melitensis), 2mL bottle |  | 40 days | bottle | 1 |  |  |
|  | Campylobacter Test kit, 25 tests/kit |  | 40 days | kit | 1 |  |  |
|  | Cryptococcus Antigen Test Kit, pack of 50 |  | 40 days | pack | 1 |  |  |
|  | H. influenzae Agglutinating Serum Type A, 2mL vial |  | 40 days | bottle | 1 |  |  |
|  | H. influenzae Agglutinating Serum Type B, 2mL vial |  | 40 days | bottle | 1 |  |  |
|  | H. influenzae Agglutinating Serum Type C, 2mL vial |  | 40 days | bottle | 1 |  |  |
|  | H. influenzae Agglutinating Serum Type D, 2mL vial |  | 40 days | bottle | 1 |  |  |
|  | H. influenzae Agglutinating Serum Type E, 2mL vial |  | 40 days | bottle | 1 |  |  |
|  | H. influenzae Agglutinating Serum Type F, 2mL vial |  | 40 days | bottle | 1 |  |  |
|  | E. coli 0157:H7, polyvalent slide agglutination antiserum, for presumptive identification of E. coli O157, ready-to-use liquid in dropper bottle, 2mL vial |  | 40 days | bottle | 1 |  |  |
|  | Listeria Polyvalent O, slide agglutination antisera, ready-to-use liquid in dropper bottle, 2mL vial |  | 40 days | bottle | 1 |  |  |
|  | Neisseria meningitidis Polyvalent, slide agglutination antisera, ready-to-use liquid in dropper bottle, 2mL vial |  | 40 days | bottle | 1 |  |  |
|  | Salmonella Polyvalent O A-I+Vi, slide agglutination antisera, ready-to-use liquid in dropper bottle, 2mL vial |  | 40 days | bottle | 1 |  |  |
|  | Salmonella Polyvalent H, slide agglutination antisera, ready-to-use liquid in dropper bottle, 2mL vial |  | 40 days | bottle | 1 |  |  |
|  | Shigella Polyvalent, slide agglutination antisera, for presumptive identification of Shigella, ready-to-use liquid in dropper bottle, 2mL vial |  | 40 days | bottle | 1 |  |  |
|  | Rabbit Coagulase Plasma for qualitative detection of S. aureus coagulase, lyophilized rabbit plasma with EDTA, 3mL vial, 10 vials/pack |  | 40 days | pack | 1 |  |  |
|  | Vibrio cholerae Polyvalent, slide agglutination antisera, ready-to-use liquid in dropper bottle, 2mL vial |  | 40 days | bottle | 1 |  |  |
|  | Yersinia enterocolitica Polyvalent antisera, ready-to-use liquid in dropper bottle, 2mL vial |  | 40 days | bottle | 1 |  |  |
|  | Staphytect Plus Latex Agglutination Test, 100 tests/kit |  | 40 days | kit | 1 |  |  |
|  | DrySpot E. coli O157, Latex Agglutination Test, 120 tests/kit |  | 40 days | kit | 1 |  |  |
|  | Malaria-rapid diagnostic tests and its buffer solution, 40 tests/pack |  | 40 days | pack | 1 |  |  |
|  | Microbact Listeria 12L, Haemolysin Reagent, for use in the rapid Listeria 12L identification test, bottle |  | 40 days | bottle | 1 |  |  |
|  | Microbact Listeria 12L kit, self-contained rapid biochemical-based identification system with 12 analytes/strip, 20 test strips/pack |  | 40 days | pack | 1 |  |  |
|  | Microbact Staph Fast Blue Reagent Set, 2x10mL/pack |  | 40 days | pack | 1 |  |  |
|  | Microbact Staphylococcal 12S Kit, 20 galleries/pack |  | 40 days | pack | 1 |  |  |
|  | Microdase (modified oxidase test) Disks, 25 disks/vial |  | 40 days | pack | 1 |  |  |
|  | Niacin Reagent Strips, 25 tests/pack |  | 40 days | pack | 1 |  |  |
|  | Oxoid BCET-RPLA Toxin Detection Kit, for the detection of Bacillus cereus enterotoxin (diarrhoeal type) in foods and culture filtrates, 20 tests/pack |  | 40 days | pack | 1 |  |  |
|  | Oxoid PET-RPLA Toxin Detection Kit, for the detection of Clostridium perfringens enterotoxin type A in faecal samples or clinical culture filtrates, 20 tests/pack |  | 40 days | pack | 1 |  |  |
|  | Oxoid SET-RPLA Toxin Detection Kit, for the detection of staphylococcal enterotoxins A, B, C and D in foods and culture filtrates, 20 tests/pack |  | 40 days | pack | 1 |  |  |
|  | Oxoid Streptococcal Grouping Kit, 50 tests/pack |  | 40 days | pack | 1 |  |  |
|  | Oxoid TST-RPLA Toxin Detection Kit, for the detection of staphylococcal toxic shock syndrome toxin (TST) from clinical culture filtrates, 20 tests/pack |  | 40 days | pack | 1 |  |  |
|  | Oxoid VET-RPLA Toxin Detection Kit, for the detection of E. coli heat-labile enterotoxin and Vibrio cholera enterotoxin, 20 tests/pack |  | 40 days | pack | 1 |  |  |
|  | Oxoid VTEC-RPLA Toxin Detection Kit, for the detection of verocytotoxin VT1 and VT2 produced by E. coli cultured from food and fecal specimens, 20 tests/pack |  | 40 days | pack | 1 |  |  |
|  | ProSpecT C. difficile Toxin A/B microplate assay, 96 tests/kit |  | 40 days | kit | 1 |  |  |
|  | Xpect C. difficile Toxin A/B Test, 20 tests/kit |  | 40 days | kit | 1 |  |  |
|  | PRO Discs w/Reagent, screening test for identification of yeast Candida albicans and anaerobic Clostridium difficile by detection of L-Proline aminopeptidase, 25 tests/pack |  | 40 days | pack | 1 |  |  |
|  | PYR Discs w/Reagent, for the presumptive identification of Group A Streptococcus, enterococci and Escherichia coli by detection of PYRase, 25 tests/pack |  | 40 days | pack | 1 |  |  |
|  | Wellcolex Colour Shigella rapid agglutination test kit, 50 tests/pack |  | 40 days | pack | 1 |  |  |
|  | SPS Disc for presumptive identification of Peptostreptococcus anaerobius, 25 disks/vial |  | 40 days | vial | 1 |  |  |
|  | TP Syphilis Rapid Test kit: antibody test on whole blood, serum, plasma, 40 tests/pack |  | 40 days | pack | 1 |  |  |
|  | Staphylase Rapid Test kit, pack of 100 |  | 40 days | pack | 1 |  |  |
|  | Amikacin sulfate salt (aminoglycoside antibiotic), 5g bottle |  | 40 days | bottle | 1 |  |  |
|  | Bacitracin B 100ug Discs, 5x50 discs/pack |  | 40 days | pack | 1 |  |  |
|  | Polymyxin B selective supplement, sterile powder, vial for 100mL medium, 5 vials/pack |  | 40 days | pack | 1 |  |  |
|  | Whatman Antibiotic Assay Discs, pack of 1000 |  | 40 days | pack | 1 |  |  |
|  | McFarland Equivalence Turbidity Standard 0.5, tube size 15 x 103mm, each |  | 40 days | each | 1 |  |  |
|  | Agar Bacteriological (Agar No 1), 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Peptone Bacteriological, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Alkaline Peptone Water, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Bacillus cereus Selective Agar Base, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Baird Parker Agar Base, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Egg Yolk Tellurite Emulsion, 100mL bottle |  | 40 days | bottle | 1 |  |  |
|  | Oxoid™ Potassium Tellurite 3.5%, 10 x 2mL/pack |  | 40 days | pack | 1 |  |  |
|  | Bile Aesculin Agar, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Blood Agar Base No. 2, for cultivation of fastidious pathogenic microorganisms, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Blood Agar, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Brilliance UTI Clarity Agar, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Campylobacter Blood-Free Selective Agar Base, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Campylobacter Growth Supplement, vial for 100mL medium, 5 vials/pack |  | 40 days | pack | 1 |  |  |
|  | Casein yeast peptone, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Cetrimid-Agar, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Chloramphenicol Supplement, vial for 100mL medium, 5 vials/pack |  | 40 days | kit | 1 |  |  |
|  | Chromogenic Coliform Agar, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Chromogenic Salmonella Agar Base, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | CLED Agar, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Columbia Blood Agar Base, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Cooked Meat Medium, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Corn Meal Mycological Agar, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Crossley Milk Medium, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Cystine Tryptic Agar, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Czapek Dox Liquid Medium, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | De Man-Rogosa-Sharpe (MRS) Agar, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | DNase Agar, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Horse Serum, 100mL bottle |  | 40 days | bottle | 1 |  |  |
|  | Iso-Sensitest Agar, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Kligler Iron Agar, (KIA) 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Laked Horse Blood, 100mL bottle |  | 40 days | bottle | 1 |  |  |
|  | Legionella Agar base, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Legionella BCYE Growth Supplement, vial for 100mL, 5 vials/pack |  | 40 days | pack | 1 |  |  |
|  | Legionella BCYE-Supplement without L-cysteine, vial for 100mL, 5 vials/pack |  | 40 days | pack | 1 |  |  |
|  | Legionella (GVPC) Selective Supplement, vial for 100mL, 5 vials/pack |  | 40 days | pack | 1 |  |  |
|  | Listeria Enrichment Broth, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Listeria Selective Agar Base (Oxford Formulation), 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Listeria Selective Supplement, vial for 100mL, 5 vials/pack |  | 40 days | pack | 1 |  |  |
|  | M17 Agar, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | MacConkey Agar, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Mannitol Salt Agar (Chapman Medium), 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Membrane Clostridium perfringens (mCP) Agar, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Milk Plate Count Agar, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Mueller Hinton Agar, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Nutrient Agar, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | ONE Broth-Listeria Base, enrichment broth, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | ONE Broth-Listeria Supplement, vial for 100mL medium, 5 vials/pack |  | 40 days | pack | 1 |  |  |
|  | Selenite Cystine Broth Base, enrichment broth for Salmonella, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | ONE Broth-Salmonella Supplement, vial for 100mL medium, 5 vials/pack |  | 40 days | pack | 1 |  |  |
|  | Oxytetracycline Glucose Yeast Extract Agar Base, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Palcam Agar Base, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Peptone Water, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Plate Count Agar, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Sabouraud Dextrose Agar, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Sheep Blood Agar Base, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | SIM Medium, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Simmons Citrate Agar, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Slanetz and Bartley Medium (Enterococcus Agar), 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Sorbitol MacConkey Agar, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | SPS Agar for selective enumeration of C. perfringens in foods, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | SS Agar, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Staphylococci/Streptococci Selective Supplement, for isolation of Staphylococcus and Streptococcus species on Columbia Blood Agar, each vial for 100mL medium, 5 vials/pack |  | 40 days | pack | 1 |  |  |
|  | TCBS Agar (Thiosulfate, Citrate, Bile Salts, Sucrose) for selective isolation of enteropathogenic vibrios, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Tergitol 7 Agar Base, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Thioglycollate Medium 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Todd Hewitt Broth, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Tryptone Water, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Violet Red Bile (VRB) Agar with MUG , 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Violet Red Bile Lactose (VRBL) Agar, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | XLD Agar (EP/USP/JP/BP), 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Yeast Extract Agar, 500g bottle |  | 40 days | bottle | 1 |  |  |
|  | Yersinia Selective Supplement, each vial for 100mL medium, 5 vials/pack |  | 40 days | pack | 1 |  |  |
|  | GenElute Bacterial Genomic DNA Kit, 70 purifications/kit |  | 40 days | kit | 1 |  |  |
|  | Fungal Genomic DNA Kit, 50 preparations/kit |  | 40 days | kit | 1 |  |  |
|  | Gen Elute Blood Genomic DNA Kit Protocol, 70 purifications/kit |  | 40 days | kit | 1 |  |  |
|  | Formamide, molecular grade, DNase free, RNase free, cat. no H5052, 500mL/bottle |  | 40 days | bottle | 1 |  |  |
|  | 0.5 M EDTA, pH 8.3, 100mL bottle |  | 40 days | bottle | 1 |  |  |
|  | 3 M Sodium Acetate Solution, pH 5.2, sterile, nuclease-free solution, for DNA/RNA precipitation, 5 x 1 mL/pack |  | 40 days | pack | 1 |  |  |
|  | Proteinase K (19131), ready-to-use solution 20mg/mL, activity >600 mAU/mL, for digestion in DNA and RNA isolation procedures, 2 mL bottle |  | 40 days | bottle | 1 |  |  |
|  | Ethanol >= 95%, for molecular biology, Pure 190 proof, 500mL bottle |  | 40 days | bottle | 1 |  |  |
|  | Ethanol Solution 96%, Molecular Biology Grade, DNase and protease free, 1L bottle |  | 40 days | bottle | 1 |  |  |
|  | Ethanol 100%, Absolute (200 Proof), ultrapure, molecular biology grade, for the purification and precipitation of nucleic acids, 500mL bottle |  | 40 days | bottle | 1 |  |  |
|  | Ethanol 100%, Absolute (200 Proof), ultrapure, molecular biology grade, for the purification and precipitation of nucleic acids, 4L bottle |  | 40 days | bottle | 1 |  |  |
|  | DNA Away, ready-to-use DNA Surface Decontaminant for the elimination of DNA and DNase from gel boxes, pipettes, benchtops, thermal cyclers, other apparatus for a DNA-free work area, pH 11, 250 mL bottle, pack of 12 |  | 40 days | pack | 1 |  |  |
|  | Rely+On® Virkon® disinfectant product for lab routine decontamination of surface and equipment, 5g tablets, 50 x 5 g tablets/pack |  | 40 days | pack | 1 |  |  |
|  | Distel Dosing System Concentrate Disinfectant for the elimination of DNA and RNA on surfaces. Pack content: 1 x 1L Distel concentrate, 1 x 5mL dosing head, 1 x working solution bottle label |  | 40 days | pack | 1 |  |  |
|  | Distel Dosing System Dosing Bottles. Pack content: 6 x 1L dosing bottles, 6 x 5mL dosing heads, 6 x working solution labels |  | 40 days | pack | 1 |  |  |
|  | Buffer G2, lysis buffer for the EZ1 genomic DNA procedure (1014636), 260 ml bottle |  | 40 days | bottle | 1 |  |  |
|  | Buffer MTL (19112), for the lysis of samples for automated purification of forensic samples with the EZ1 DNA Investigator, 54 mL bottle |  | 40 days | bottle | 1 |  |  |
|  | EZ2 DNA Investigator Sep&Prep Kit, for differential extraction of DNA from forensic samples, 48 preps/kit |  | 40 days | kit | 1 |  |  |
|  | EZ1&2 DNA Investigator Kit, for purification of DNA from forensic samples, 48 preps/kit |  | 40 days | kit | 1 |  |  |
|  | Dynabeads mRNA Purification Kit, for purification of mRNA molecules from total RNA preparations, 2 mL |  | 40 days | kit | 1 |  |  |
|  | Dynabeads mRNA DIRECT Purification Kit, for rapid isolation of poly(A) mRNA directly from crude lysate of animal and plant cells and tissues, 5 mL |  | 40 days | kit | 1 |  |  |
|  | Dynabeads mRNA DIRECT Purification Kit, for rapid isolation of poly(A) mRNA directly from crude lysate of animal and plant cells and tissues, 10 mL |  | 40 days | kit | 1 |  |  |
|  | Dynabeads mRNA DIRECT Micro Purification Kit, for isolation of poly(A) mRNA from cells, tissue, and total RNA samples, 2 mL |  | 40 days | kit | 1 |  |  |
|  | MagMAX DNA Multi-Sample Ultra 2.0 Kit, for purification of gDNA from multiple samples types |  | 40 days | kit | 1 |  |  |
|  | Duo-Ready DNA Ultra 2.0 Prefilled Plates, automation-ready plate prefilled with MagMAX DNA Multi-Sample Ultra 2.0 reagents for the isolation of genomic DNA from multiple sample types (whole blood, saliva, buffy coat, buccal swabs ...), 96 Preps plate |  | 40 days | each | 1 |  |  |
|  | MagMAX DNA Multi-Sample Ultra Kit, for high-throughput purification of gDNA from variety of biological samples, 500 prep/kit |  | 40 days | kit | 1 |  |  |
|  | MagMAX Saliva gDNA Isolation Kit, for isolation of genomic DNA from fresh and stabilized saliva, 100 rnx/kit |  | 40 days | kit | 1 |  |  |
|  | MagMAX Microbiome Ultra Nucleic Acid Isolation Kit, with bead tubes, for nucleic acid extraction (RNA and DNA) from soil, stool and biofluids, 100 preps/kit |  | 40 days | kit | 1 |  |  |
|  | MagMAX Microbiome Ultra Nucleic Acid Isolation Kit, with bead plate, for high-throughput nucleic acid extraction (RNA and DNA) from soil, stool and biofluids 100 preps/kit |  | 40 days | kit | 1 |  |  |
|  | MagMAX mirVana Total RNA Isolation Kit, for isolation of total RNA including small RNAs from a variety of samples, 96 rnx/kit |  | 40 days | kit | 1 |  |  |
|  | MagMAX Cell-Free DNA Isolation Kit, for enrichment of circulating cell-free DNA (cfDNA) in serum and plasma,1 kit |  | 40 days | kit | 1 |  |  |
|  | MagMAX Cell-Free Total Nucleic Acid Isolation Kit, for enrichment of all nucleic acid species present in cell-free plasma, 1 kit |  | 40 days | kit | 1 |  |  |
|  | MagMAX Plant DNA Isolation Kit, for manual or automated high-throughput purification of DNA from a wide variety of plant species, 96 preps/kits |  | 40 days | kit | 1 |  |  |
|  | MagMAX Plant DNA Isolation Kit, for for manual or automated high-throughput purification of DNA from a wide variety of plant species, 384 preps/kit |  | 40 days | kit | 1 |  |  |
|  | MagMAX Plant RNA Isolation Kit, for purification of total RNA from wide variety of plant species and tissue types, 96 preps/kit |  | 40 days | kit | 1 |  |  |
|  | MagMAX Plant RNA Isolation Kit, for purification of total RNA from wide variety of plant species and tissue types, 384 preps/kit |  | 40 days | kit | 1 |  |  |
|  | MagMAX Viral/Pathogen Nucleic Acid Isolation Kit, for recovery of RNA and DNA from virus and gram-negative bacteria in blood, swabs, urine, and viral transport media (VTM), 200 preps/kit |  | 40 days | kit | 1 |  |  |
|  | MagMAX Viral/Pathogen Ultra Nucleic Acid Isolation Kit, for recovery of nucleic acid from viral particles, gram negative bacteria, gram-positive bacteria, yeast, and fungi, 100 preps/kit |  | 40 days | kit | 1 |  |  |
|  | MagMAX Viral/Pathogen II (MVP II) Nucleic Acid Isolation Kit, specifically designed for recovery viral RNA and DNA from human nasopharyngeal swabs and RNA from saliva specimens, 96 deep-well plate, up to 2000 preps/kit |  | 40 days | kit | 1 |  |  |
|  | MagMAX Pathogen RNA/DNA Kit, flexible solution for purification of RNA and DNA from viruses, easy-to-lyse bacteria and parasites from a wide range of sample types, 480 preps/kit (96-well format) |  | 40 days | kit | 1 |  |  |
|  | MagMAX Wastewater Ultra Nucleic Acid Isolation Kit, for the extraction of RNA and DNA from viral and bacterial pathogens from wastewater samples, 100 preps/kit |  | 40 days | kit | 1 |  |  |
|  | MagMAX Wastewater Ultra Nucleic Acid Isolation Kit with Virus Enrichment, for concentration of wastewater (with Dynabeads wastewater virus enrichment) and extraction of RNA and DNA from viral and bacterial pathogens, 100 preps/kit |  | 40 days | kit | 1 |  |  |
|  | Custom TaqMan® Real-Time PCR Assay Beads (STX1), 96 rxn/kit |  | 40 days | kit | 1 |  |  |
|  | Permount™ Mounting Medium, mounting and long-term storage of slides, 100mL/bottle |  | 40 days | bottle | 1 |  |  |
|  | Emersion oil for microscopy. Viscosity: 100-120 mPa.s (20°C), Density: 1.025 g/mL at 20°C, Refractive index: n20/D 1.516, A Grade, 100mL/bottle |  | 40 days | bottle | 1 |  |  |
|  | Gas for bunsen burner Integra Fireboy plus: Butane, CV360, about 30 min. flame duration |  | 40 days | each | 1 |  |  |
|  | Gas for bunsen burner Integra Fireboy plus: Propane, CV300 plus, about 180 min. flame duration |  | 40 days | each | 1 |  |  |
|  | Gas for bunsen burner Integra Fireboy plus: Butane/propane mixture (80/20 %), CV470, about 400 min. flame duration |  | 40 days | each | 1 |  |  |
|  | Gas for bunsen burner Integra Fireboy plus: Propane/butane gas 250, about 35 min. flame duration |  | 40 days | each | 1 |  |  |
|  | Bleach-Rite Disinfecting Spray with Bleach. For the disinfection of lab equipment and specimen collection areas, wastewater treatment (hard, non-porous surfaces). Pre-mixed, ready-to-use bleach disinfectant formulated at 0.525% (a 1:10 dilution). Container: trigger spray with spill proof cap, volume: 473mL. 12 sprays/pack Certifications/Compliance : EPA, NCCLS, OSHA, CDC |  | 40 days | pack | 1 |  |  |
|  | Bleach-Rite Disinfecting Spray with Bleach. For the disinfection of lab equipment and specimen collection areas, wastewater treatment (hard, non-porous surfaces). Pre-mixed, ready-to-use bleach disinfectant formulated at 0.525% (a 1:10 dilution). Volume: 3.8L/bottle, 4 bottles-pack. |  | 40 days | pack | 1 |  |  |
|  | Lyse&Spin Basket Kit (19598) for the lysis and filtration of forensic samples on solid substrates, kit of 10 pouches (2x50 baskets, 5 x 50 collection tubes) |  | 40 days | kit | 1 |  |  |
|  | EZ2 Connect Tip Rack - Flip Cap Tube (9027010), rack for the use of flip-cap tubes with EZ2 Connect, each |  | 40 days | each | 1 |  |  |
|  | EZ2 Connect Tip Rack (9027011), rack for use with EZ2 Connect for large-volume tubes, each |  | 40 days | each | 1 | € 908.00 |  |
|  | Large-Volume Tubes 7 mL (951954) for purification of forensic samples on EZ2 Connect, 2 bags of 24 tubes/pack |  | 40 days | pack | 1 |  |  |
|  | Adhesive sealing film for microplates, transparent QuickSeal DMSO resistant film with piercing X, suitable for sample access and retrieval for 96 well plates on autosamplers and sequencers, peelable with crosscuts over the wells, automatically cleans tips |  | 40 days | pack | 1 | 349,00 € |  |
|  | Pre-cut pierceable vinyl films (L×D: 145,5×79,4mm), transparent, 106,7µm, thick with 20µm adhesive layer, designed for temporary protection of samples in 96-well plates from contamination and short-term evaporation, pre-cut flaps bending inward without fo |  | 40 days | pack | 1 | €216.00 |  |
|  | Dissecting Dressing Forcep. Straight, serrated tip. Surgical-grade stainless steel. Rockwell hardness (HRC): 40-45. Autoclavable up to 135°C. Latex-free. Length: 15.2 cm. Pack of 12. |  | 40 days | pack | 1 | $252.54 |  |
|  | Filter forcep. Tweezer Style 2A, flat round tips, electronic grade. Polished, resistant to corrosion (C, Cr, Ni, Mo and Cu alloy), 95% antimagnetic, resistant up to temperatures of around 400°C, suitable for autoclave sterilization at 270°C. Length 120mm, |  | 40 days | each | 1 | $51 |  |
|  | Disposable lab forceps/tweezers, reinforced nylon plastic, sterile individually bagged, serrated blunt tips, corrugated handles, autoclavable, overall length: 12.2 cm, 100pcs/pack |  | 40 days | pack | 1 | $218.00 |  |
|  | Laboratory bottle with ISO thread, graduated, borosilicate 3.3, 500 mL, 10 pcs/pack |  | 40 days | pack | 1 | $300 |  |
|  | Laboratory bottle with ISO thread, graduated, borosilicate 3.3, 1000 mL, 10 pcs/pack |  | 40 days | pack | 1 | $300 |  |
|  | Waste disposal bag, HDPE, 60L, dimensions: 600 x 800mm, thickness: 0,03 mm, autoclavable for the sterilization and disposal of hazardous and contaminated labware, 5 x 100 pcs/pack |  | 40 days | pack | 1 | $100 |  |
|  | Biohazard bags, HDPE or PP, 100L (+/-25-30 gallons), dimensions: +/- 90cm x 115cm or 79cm x 97cm, autoclavable, tear resistant, with leak-proof bottom seal, thickness 1.2 mil-2.0 mil for heavy-duty, puncture-resistant performance. Color: red with black biohazard symbol and "Biohazard" text. 100 pcs/pack |  | 40 days | pack | 1 | $100 |  |
|  | Biohazard Waste Container, autoclavable, Foot Pedal, 100L (+/-26 gallons), Red color, 1 piece |  | 40 days | piece | 1 | $100 |  |
|  | Biohazard Waste Container, autoclavable, Foot Pedal, 100L (+/-26 gallons), Yellow color, 1 piece |  | 40 days | piece | 1 | $100 |  |
|  | Biohazard Waste Container, autoclavable, Foot Pedal, 100L (+/-26 gallons), Green color, 1 piece |  | 40 days | piece | 1 | $100 |  |
|  | Biohazard Waste Container, autoclavable, Foot Pedal, 100L (+/-26 gallons), Black color, 1 piece |  | 40 days | piece | 1 | $100 |  |
|  | Disposable Hairnet, White,1/8" Flame-Retardant Nylon Netting, Latex-Free, Size of 21 Inches Diameter, 1,000 Units/pack (10 bags of 100 each) |  | 40 days | pack | 1 | $7.96 |  |
|  | Disposable Lab Coats, White Tyvek, Snap button, three pockets, size S, pack of 50 |  | 40 days | pack | 1 | $167.96 |  |
|  | Disposable Lab Coats, White Tyvek, Snap button, three pockets, size M, pack of 50 |  | 40 days | pack | 1 | $167.96 |  |
|  | Disposable Lab Coats, White Tyvek, Snap button, three pockets, size L, pack of 50 |  | 40 days | pack | 1 | $167.96 |  |
|  | Disposable Lab Coats, White Tyvek, Snap button, three pockets, size XL, pack of 50 |  | 40 days | pack | 1 | $167.96 |  |
|  | Disposable shoe covers, TNT, non-skid, blue color, 100 pcs/pack |  | 40 days | pack | 1 | $ 10 |  |
|  | Economy N95 Particle Respirator mask, 20 masks/pack |  | 40 days | pack | 1 | $28.57 |  |
|  | Magnetic stirrer with heating ceramic coated stainless steel hotplate. Stirring speed adjustable between 0 and 1500 rpm. Motor with electronic speed control, constant speed even during changes in load. High magnetic adhesion, preventing the stirrer bar from escaping. Capacity: 20 L. For beakers with diam. <:135 mm and magnetic bars from 30 mm up to 80 mm long. Supplied with a PTFE magnetic bar. Temperature adjustable up to 340 ºC on plate. Heating power: 530 W. Separated safety circuit, automatically stopping heating when temperature goes over 350ºC. DC brushless motor maintenance free. External dimensions (L x W x H): 280 x 160 x 85 mm. 200-240 V / 50-60 Hz, insulation rating IP42 (DIN EN60529), EU plug Warranty 2 years |  | 40 days | each | 1 | $379.95 |  |
|  | Magnetic stirring bars, PTFE, L x diam.: 25x8mm, white, smooth or with pivot ring, 2 pcs/pack |  | 40 days | pack | 1 | €12.90 |  |
|  | Analytical balance. Capacity/sensitivity: 220 g x 0.0001 g. Display in g, mg, ct and oz. Equipped with RS-232C and USB interfaces. Backlit LCD display. Large antistatic glass chamber and stainless-steel weighing pan, with automatic overload protection sys |  | 40 days | each | 1 | 695,23 € |  |
|  | Traceable Thermometer/Clock/Humidity Monitor to measure temperature and relative humidity in lab rooms. LCD display. Temperature Range: 0°C to 50°C (±1°C). Relative humidity range: 20 to 90%, resolution 1% RH, and accuracy is ±8%). Memory: highest and lowest temperature and humidity readings. Clock: time of day to the minute, accuracy to 0.0190 seconds. Dimensions (LxWxH): 10.8x5.7x1.3 cm. Weight: 71 g. Including: 1.5V AAA battery, built-in stand and wall mount. Certifications/Compliance : ISO 17025, A2LA, NIST |  | 40 days | each | 1 | $121.00 |  |
|  | WiFi Datalogging Hygrometer/Thermometer to monitor temperature and humidity locally or remotely with Cloud-based applications in individual labs or an entire network of facilities. Type: Hygrometer Datalogger. Digital display. Audible and visual alarms. TraceableLIVE Software. Temperature Range:0°C to 50°C (±0.4°C). Relative humidity Range: 0 to 100% (±3% RH [20 to 80] %RH, ±5% RH otherwise). Including: ambient sensor dongle, quick start guide, batteries, magnets, Velcro, wall mount and Traceable™ certificate. Certifications/Compliance : ISO 17025, A2LA, NIST |  | 40 days | each | 1 | $460.00 |  |
|  | Benchtop fast spin mini centrifuge for PCR protocol. Maximum capacity: 12 x 2 mL. Maximum RCF: 9,800 x g (100 x g increments). Timer: 1 second to 30 minutes (1 second increments) + Quick Spin. Including 2 rotors to accommodate 0.2, 0.5, 1.5, 2mL microcentrifuge tubes, PCR strip tubes: 12x1.5/2.0mL tube rotor, 32x0.2mL rotor (singles or 4x8 strip), 0.2mL tube adapters (set of 12), 0.5mL tube adapters (set of 12). Temperature range: ambient. Universal power adapter 100-240 V, 50-60 Hz, with 4 interchangeable plug types. Dimensions (DxWxH): 20.3x17.1x11.4 cm. Net weight: 1.41 kg. Certified CE, CSA, UL. Warranty: 2 years. |  | 40 days | each | 1 | $90.65 |  |
|  | Digital Dry Bath/Block Heater. For 1 block (sold separately). Digital controls and display of time and temperature. PID digital for precise temperature control. Durable powder-coated steel body construction. Built-in over-temperature protection device. Temperature deviation adjustment. Temperature range: Ambient +5° to 130°C (accuracy: ≤ ± 0.5°C, uniformity: ≤ ± 1°C. Heating Rate: ≤ 20 min, 30° to 130°C. Timer: 0 to 99:59 min or continuous. Voltage: 100/240 V, Frequency: 50/60 Hz, EU plug type Dimensions (LxWxH) : 288x200x100 mm, Weight: 2.9 kg. Includes: Dry Bath, Block Lifter Warranty and Services: 2 Year, Replacement Certifications/Compliance: CE, cULus, RoHS |  | 40 days | each | 1 | $884.65 |  |
|  | Block, 28 x 1.5 mL for use with Digital Dry Bath/Block Heater. Block with capacity hold of 28 x 1.5mL. Lighting LED. Dimensions (LxWxH): 76x124x39 mm. Warranty: 2 years |  | 40 days | each | 1 | US$191.00 |  |
|  | Block, 28 x 2.0 mL for use with Digital Dry Bath/Block Heater. Block with capacity hold of 28 x 2.0mL. Lighting LED. Dimensions (LxWxH): 76x124x39 mm. Warranty: 2 years |  | 40 days | each | 1 | US$191.00 |  |
|  | Vortex Mixer. Orbital mixing, diameter: 4.2 mm. Speed Range: 0 to 3000 rpm, electronically controlled. Operating Modes: Touch, Continuous. Electrical Requirements: 100/240 V, 50/60 Hz, 15 W. Material: Zinc Alloy, Technopolymer, large, anti-slip rubber feet. Dimensions (DxWxH): 165x150x130 mm. Weight: 2.7 kg. IP protection rating: IP42. Available accessories to suit tubes, plates and flasks |  | 40 days | each | 1 |  |  |
|  | Foam Stand for Vortex Mixer. Foam tube rack for use on vortex mixer, holds 19 microtubes, black. |  | 40 days | each | 1 | 112.00€ |  |
|  | Cell-Free DNA BCT®: collection tube for transport and storage of blood sample with 14-day cell-free DNA/genomic DNA sample stability at 6°C to 37°C. Eliminating the need for immediate plasma isolation. Preservative reagent limiting the release of genomic |  | 40 days | pack | 1 |  |  |
|  | Cell-Free DNA Storage Tube, CWX008M. Tubes for collection, transport and storage of blood samples, stabilizing and preserving cffDNA. Storage and transportation temperature: 2-35 °C for up to 14 days. Material: PET. Manufactured in accordance with EN ISO |  | 40 days | box | 1 | € 303.00 |  |